## Slide 1
Fire Inspection and Code Enforcement
8th Edition Inspector I
Chapter 2 — Codes, Standards, and Permits

## Slide 2: Learning Objective 1
Identify appropriate resources for finding current and applicable codes and standards.

## Slide 3: Inspectors must know the difference between codes and standards.

## Slide 4: Building and fire codes or standards have two types of classifications.
Prescriptive-based
Describes types of materials
Performance-based
Provides acceptable performance levels for materials
No assembly requirements
Describes assembly requirements
Give designers greater freedom
Also called specification-based

## Slide 5: Inspectors need to be familiar with prescriptive/model code organizations.
United States
National Fire Protection Association (NFPA®)
Canada
Canadian Commission of Building and Fire Codes (CCBFC)
International Code Council® (ICC®)

## Slide 6: Be aware of the pros and cons of performance-based design.
Allows for flexible fire protection design solutions
Requires significant technical expertise to inspect

## Slide 7: Be familiar with model codes and standards referenced in local codes.
Locally adopted code
ICC® International Building Code
NFPA® 13, Standard for the Installation of Sprinkler Systems

## Slide 8: Some structures may be required to meet several kinds of codes.
Hospital
NFPA® Life Safety Code ®
Locally adopted fire codes
Federal codes and regulations

## Slide 9: Know how to apply codes to new and existing structures.
Original construction
Amended code
Building remodel
Regulation by current code

## Slide 10: NOTE
Unless inspectors are specifically given authority, they cannot apply current building code requirements to existing structures.

## Slide 11: Monitor code provisions enacted at all levels of government.
Inspector
Know local structures
Conduct occupancy surveys
Monitor electrical applications
Develop working relationships
Monitor licenses
Monitor permits

## Slide 12: Know the current adopted editions of codes and standards in the jurisdiction.

## Slide 13: NOTE
An Inspector I should understand the concept of codes while an Inspector II should know how to evaluate the performance of materials and practices designed to meet the intent of the code requirement.

## Slide 14: Inspectors need to recognize the importance of standards.
Consistency
Guidance
Building construction
Design
Practice
Materials
Fire and life safety
Hazardous processes

## Slide 15: Know the most prominent U.S. standards-developing organizations.
NFPA®
ASTM International
American Society for Testing and Materials
UL
Underwriters Laboratories
National Fire Protection Association®
ANSI
American National Standards Institute

## Slide 16: Know the prominent Canadian standards-developing organizations.
SCC
ULC
Underwriters Laboratories of Canada
CGSB
Canadian General Standards Board
Canadian Standards Association
BNQ
Bureau de normalisation du Quebec
Standards Council of Canada
CSA

## Slide 17: REVIEW QUESTION
What are the differences between a code and a standard?

## Slide 18: Learning Objective 2
Explain complaint procedures.

## Slide 19: Know the SOPs for receiving and processing complaints.
Resolve
Investigate
Record

## Slide 20: Inspectors must know what to do upon finding a violation.
Initiate corrective action
Verify corrections
Notify complainant
Update records

## Slide 21: REVIEW QUESTION
What steps are included in the complaint process?

## Slide 22: Learning Objective 3
Describe the role of an Inspector I in the permitting process.

## Slide 23: Know the various uses and reasons for permits and licenses.
Specific events
Continuing operations
Enable inspections
Ensure safety
Ensure compliance

## Slide 24: Inspectors should know the two types of International Fire Code® permits.
Operational
Hazmat handling
Equipment installation
Equipment alteration
Open burning
Construction
Large-area tents
Equipment repair

## Slide 25: REVIEW QUESTION
What must an Inspector I know about permits?

## Slide 26: Summary
Locally adopted codes and standards provide the legal basis for the tasks that an inspector performs.
Originally developed through a consensus process, codes and standards are not mandatory until they are adopted by the AHJ.

## Slide 27: Summary
Once adopted, they can be modified to meet local needs.
An inspector should be familiar with the code adoption and modification process, the appeals process, and the original consensus process.
The inspector must also be familiar with the permitting process.