Skill Sheet 8-2

Objective 8	Resupply an ARFF vehicle with foam. [NFPA® 1003, 4.3.8]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skills evaluation checklist, students will resupply an ARFF vehicle with foam.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all procedures. Firefighters must properly wear appropriate PPE when performing this skill.

Resources

| - ARFF apparatus - Manufacturer’s operators manual - Foam pails | - Wrench or other tool to open pail - Foam transfer pump, pick-up tube, and hose (if equipped) - Proximity Fire Fighting Protective Clothing; Structural Fire Fighting Protective Clothing; or Station Uniform, ear and eye protection, and gloves |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the candidate has completed the skill sheet, write comments below.

Evaluator/Candidate Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 8-2 
Evaluation Checklist

Objective 8	Resupply an ARFF vehicle with foam. [NFPA® 1003, 4.3.8]

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
|  | Foam Resupply – Foam Pails |  |  |
| 1. | Position ARFF apparatus for resupply. |  |  |
| 2. | Open ARFF apparatus foam tank fill hatch. |  |  |
| 3. | Open foam pail. |  |  |
| 4. | Pour foam into ARFF apparatus foam tank. |  |  |
| 5. | Monitor foam resupply process. |  |  |
| 6. | Close ARFF apparatus foam tank fill hatch when operation is complete. |  |  |
| 7. | Clean any spilled foam concentrate from ARFF apparatus painted surfaces with copious amounts of water. |  |  |
|  | Foam Resupply – Foam Transfer Pump |  |  |
| 1. | Position ARFF apparatus for resupply. |  |  |
| 2. | Connect foam supply hose to ARFF apparatus. |  |  |
| 3. | Open ARFF apparatus foam tank pressure relief devices, if necessary. |  |  |
| 4. | Open ARFF apparatus foam tank fill valve. |  |  |
| 5. | Engage foam transfer pump. |  |  |
| 6. | Monitor foam resupply process. |  |  |
| 7. | Shut off foam transfer pump when ARFF foam tank is full. |  |  |
| 8. | Close ARFF apparatus foam tank fill valve. |  |  |
| 9. | Close ARFF apparatus foam tank pressure relief devices, if necessary. |  |  |
| 10. | Disconnect foam supply hose from ARFF apparatus foam fill connection. |  |  |