Skill Sheet 8-3

Objective 9	Resupply an ARFF vehicle with dry chemical agent. [NFPA® 1003, 4.3.8]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skills evaluation checklist, students will resupply an ARFF vehicle with dry chemical agent. Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all procedures. Firefighters must properly wear appropriate PPE when performing this skill.

Resources

| - ARFF apparatus - Manufacturer’s operators manual - Dry chemical system agent - Station uniform | - Proximity Fire Fighting Protective Clothing; Structural Fire Fighting Protective Clothing; or Station Uniform, ear and eye protection, and gloves - Filter mask |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the candidate has completed the skill sheet, write comments below.

Evaluator/Candidate Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 8-3 
Evaluation Checklist

Objective 9	Resupply an ARFF vehicle with dry chemical agent. [NFPA® 1003, 4.3.8]

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Position ARFF apparatus for resupply. |  |  |
| 2. | Ensure all dry chemical system valves are closed. |  |  |
| 3. | Ensure pressure has been bled off dry chemical system agent tank. |  |  |
| 4. | Open dry chemical system agent tank. |  |  |
| 5. | Transfer dry chemical agent to tank per manufacturers’ recommendations. |  |  |
| 6. | Close lid to dry chemical agent tank. |  |  |
| 7. | Replace or recharge system pressurizing gas cylinder and/or air pressure system per manufacturers’ recommendations. |  |  |