Skill Sheet 9-4

Objective 8	Extinguish a three-dimensional fuel fire with handline(s). [NFPA® 1003, 4.3.3, 4.3.9, 4.3.10]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skills evaluation checklist, students will extinguish a three-dimensional fuel fire with handline(s). This skill requires two firefighters, working as a team. Before the skill begins, indicate to students what position to take. Students should rotate positions to practice the skill as needed.

NOTE: NFPA® 1003 specifies that a dual-agent attack should be used to extinguish a three-dimensional fuel fire and then the fuel source should be secured.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all procedures. Firefighters must properly wear appropriate PPE when performing this skill.

Resources

| - ARFF apparatus - Three-dimensional fuel spill fire trainer | - Proximity Fire Fighting Protective Clothing, including SCBA or Structural Fire Fighting Protective Clothing, including SCBA |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the candidate has completed the skill sheet, write comments below.

Evaluator/Candidate Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 9-4 
Evaluation Checklist

Objective 8	Extinguish a three-dimensional fuel fire with handline(s). [NFPA® 1003, 4.3.3, 4.3.9, 4.3.10]

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Deploy and charge the handline(s). |  |  |
| 2. | Approach the fire. |  |  |
| 3. | Operate the nozzle(s) using primary and secondary agents at appropriate pressure and flow using prescribed techniques until fire is extinguished. |  |  |
|  | NOTE: Practice agent conservation. |  |  |
| 4. | Secure fuel source. |  |  |
| 5. | Back away, maintain situational awareness. |  |  |