Skill Sheet 10-11

Objective 17	Perform a daily operational check on an ARFF apparatus. [NFPA® 1002, 9.1.1]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skills evaluation checklist, students will perform daily apparatus inspections.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all procedures. Firefighters must properly wear appropriate PPE when performing this skill.

Resources

| - Fire service apparatus equipped with a fire pump - Manufacturer’s operator’s manual - Department’s daily and weekly inspection forms - Writing instrument - Station wear or coveralls - Gloves | - Hearing protection - Eye protection - Helmet - Proximity Fire Fighting Protective Clothing or Structural Fire Fighting Protective Clothing for testing handlines |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the candidate has completed the skill sheet, write comments below.

Evaluator/Candidate Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 10-11
Evaluation Checklist

Objective 17	Perform a daily operational check on an ARFF apparatus. [NFPA® 1002, 9.1.1]

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
|  | NOTE: This skill sheet provides general guidelines for inspections. Ensure the apparatus is in a proper location and all safety precautions are followed before beginning this skill. Always follow manufacturer’s recommendations and local SOP/Gs. |  |  |
| 1. | Proceed to daily operational check site. |  |  |
| 2. | Engage the pump. |  |  |
| 3. | Make sure all gauges and valves on the in-cab pump panel are in working order. |  |  |
| 4. | Operate turrets to flow water. Check all turret functions in accordance with manufacturers’ instructions. - Test roof/HRET and bumper turrets (if applicable) for proper operation and full range of motion. - Test to ensure that the length and pattern of discharge conform to the specifications in the operator’s manual. |  |  |
| 5. | Test windshield coolant system. |  |  |
| 6. | Deploy and operate handlines. |  |  |
| 7. | Reservice the vehicle. If water was used from the onboard water tank, refill the tank. |  |  |
| 8. | If required by local SOP/Gs, completely drain water from fire pump, discharges, and all booster lines to prevent unnecessary damage caused from water freezing in cold climate conditions. |  |  |
| 9. | Document the inspection and any maintenance actions and report any deficiencies per local policy. - List any damage, discrepancies, or missing items. - Report damage, discrepancies, or missing items to appropriate personnel. |  |  |