Chapter 9

Decontamination

Lesson Goal

After completing this lesson, the student shall be able to discuss the various types of decontamination, explain how to determine if decontamination is effective, and describe special considerations for decontamination.

Objectives

Upon successful completion of this lesson, the student shall be able to:

1.	Explain the process of selecting a method of decontamination. [NFPA®472, 7.3.4(2)]

2.	Describe various decontamination methods. [NFPA® 472, 7.3.4(1)]

3.	Identify equipment and limitations for various types of technical decontamination. [NFPA® 472, 7.3.5.1(1-2, 7, 17), 7.4.5(1-2)]

4.	Compare methods of mass decontamination. [NFPA® 472, 7.4.5(3)]

5.	Explain how to assess decontamination effectiveness. [NFPA® 472, 7.5.2]

6.	Describe implementation of decontamination. [NFPA® 472, 7.3.4(1)]

7.	Identify special considerations for decontamination.

8.	Perform mass decontamination operations involving ambulatory and nonambulatory victims. [NFPA® 472, 7.4.5(3); Skill Sheet 9-1]

9.	Perform technical decontamination operations in support of entry operations. [NFPA® 472, 7.4.5(1); Skill Sheet 9-2]

10.	Perform technical decontamination operations involving ambulatory and nonambulatory victims. [NFPA® 472, 7.4.5(2); Skill Sheet 9-3]

Instructor Information

This is the lesson covering decontamination. This lesson describes both technical and mass decontamination. The lesson also covers effectiveness of decontamination and special considerations for decontamination.

Important instructor information is provided in shaded boxes throughout the lesson plan. Carefully review the instructor information before presenting the lesson.

This lesson includes skill evaluation checklists that assess student ability to perform both technical and mass decontamination. These checklists will allow students to meet the requirements of learning objectives 8-10.

Methodology

This lesson uses lecture, discussion, and skills evaluation checklists. The level of learning is application.

Outline Contents

| Section | Outline Pages | Text Pages |
| --- | --- | --- |
| Section I: Method Selection | 5 | 394 |
| Section II: Decontamination Methods | 6 | 395 |
| Section III: Technical Decontamination | 8 | 396 |
| Section IV: Mass Decontamination | 20 | 406 |
| Section V: Assessing Decontamination Effectiveness | 24 | 408 |
| Section VI: Decontamination Implementation | 26 | 410 |
| Section VII: Special Considerations | 39 | 419 |
| Section VIII: Skill Sheets | 42 | 422 |
| Section IX: Summary and Review | 44 | 420 |

Audiovisuals

- Visuals 9.1 to 9.39 (PowerPoint® Presentation)

Evaluation

- Chapter 9 Quiz

- Chapter 9 Test

- Skill Evaluation Checklists 9-1 to 9-3

Presentation Tools

Interactive Objects allow instructors to present information a piece at a time by clicking on hot spots in a larger image.

Each object is labeled in the Lesson Outline and indicated in the PowerPoint® presentation by a RED arrow in the top left corner of the image. This lets instructors know to use the mouse to explore all of the information on the slide.

After all of the information is displayed a reset arrow will appear in the bottom right corner of the image. Instructors can use this to remove the text and quiz students on content just covered or simply move on to the next slide.

To move to the slide after an interactive object, select the Click for next slide arrow on the left side of the slide.

Videos are used as discussion starters or to illustrate a concept or process discussed in the chapter.

These are labeled in the Lesson Outline and indicated in the PowerPoint® presentation by the Click image to play arrow on the left side of the slide.

Section I:	Method Selection

# method selection

pp. 394-395	Objective 1 – Explain the process of selecting a method of decontamination.

## Method Selection

### Should be done early in decision making process

### Must be available and ready to be implemented before responders enter hot zone

### Typically determined by chemical product’s properties and available

### May include consultation with experts or specialists familiar with chemicals

### Can be complicated task

#### Safety of emergency responders, civilians at stake

#### Methods must be compatible with product, protective clothing, equipment

#### Influenced by activities on scene

### Resources

#### Technical references such as Safety Data Sheets (SDSs)

#### Chemical assistance agencies such as CHEMTREC in the United States, CANUTEC in Canada, and SETIQ in Mexico

#### Local or regional poison control centers

#### National Response Center

Review Question: What resources may be used in selecting decontamination methods?

See pp. 394-395 of the manual for answers.

Section II:	Decontamination Methods

# decontamination methods

pp. 395-396	Objective 2 – Describe various decontamination methods.

## Decontamination Methods

### Wet or dry methods

#### Wet – Usually involves washing contaminated surface with solutions or flushing with hose stream or safety shower

#### Dry – Using methods such as scraping, brushing and absorption

### Physical or chemical methods

#### Physical

##### Removing contaminant from contaminated person without changing material chemically

##### Contaminant is then contained for disposal

#### Chemical – Used to make contaminant less harmful by changing it through some kind of chemical process

### Most effective is often as simple as removing outer clothing or PPE that has been contaminated

### Flushing contaminated surface with water is effective at removing harmful substance or sufficiently diluting it to safe level

Review Question: What are the differences between physical and chemical decontamination methods?

See pp. 395-396 of the manual for answers.

Section III: Technical Decontamination

# technical decontamination

p. 396	Objective 3 – Identify equipment and limitations for various types of technical decontamination.

## Technical Decontamination

### Planned and systematic removal of contaminants from personnel and/or equipment

### Uses chemical or physical methods to thoroughly clean or neutralize contaminants from primarily entry team personnel’s PPE and equipment

### May also be used on incident victims in non-life-threatening situations

### Usually conducted within formal decon line or corridor

### Type and scope determined by involved contaminants

### Resources for procedures

#### Emergency Response Guidebook (ERG)

#### Emergency response centers

#### NIOSH Pocket Guide

#### Poison control centers

#### Preincident plans

#### Safety data sheets (SDSs)

#### Technical experts

#### WISER

#### Other books, reference sources, computer programs, data bases

## Absorption

### Process of soaking up chemical spill

#### Uses sand or other absorbent material

#### Does not change chemical properties of compound or its hazards

#### Simply moves compound from one medium to another

### Can be helpful when attempting to decontaminate equipment or machinery that may not be able to withstand other decon processes

### Creates much less waste than other processes

### Not generally used for decontamination of responders or their protective equipment

### Required equipment

#### Must be compatible with material being absorbed

#### Ranges from absorbent pads and booms to particulate material

### Limitations

#### Does not change chemical properties of product

#### Hazard still exists and end result will be hazardous waste

Instructor Note: Remind students that there is one exception to this rule. If an acid spill is cleaned up with an absorbent material such as soda ash, the end result will be a neutralized product.

## Adsorption

### Adherence of chemical to surface of another medium

### Allows for liquid to adhere to solid adsorbent material

### Useful for removing liquid product floating on another liquid

### Required equipment

#### Adsorbent materials

##### Often round or pelletized form

##### Have high heat stability and small pores resulting in higher surface area

#### Examples

##### Activated carbon or charcoal

##### Silica

##### Aluminum gel

##### Earth clay

### Limitations

#### May produce high heat

#### May cause spontaneous combustion

#### Must be disposed of properly

## Chemical/Biological Degradation

### Process in which product is altered or degraded with help of nonreactive substance into material that is less hazardous

### May be natural process or physical process

### Chemical – Substance may be used to attack or alter properties of another chemical

### Biological – Enzymes or microbial agents may be used to reduce hazards of biological agent

### Required equipment

#### Can be used as additive in washing solutions to aid in degrading harmful products

#### Examples

##### Isopropyl alcohol

##### Sodium hydroxide

##### Sodium carbonate

##### Calcium oxide

### Limitations

#### Complicated process

#### May be difficult to find specific information for different agents that may be needed

#### May be difficult to determine correct concentrations

#### Heat may be by-product of reaction

#### Should not be used for protective clothing or response equipment

#### Should never be used on skin

## Dilution

### Process where solvent is used to lessen concentration and hazards of contaminant

### Works best on products that may be water soluble or miscible

### Very effective means, in conjunction with washing, for decontaminating emergency responders, victims, and equipment

### Required equipment

#### Water

#### Pumps

#### Hoses

#### Other means of moving water

### Limitations

#### Process may create large cleanup effort in contaminated runoff

#### Viscous substances may be very difficult to dilute

## Disinfection

### Process where a significant percentage of pathogenic organisms are killed or controlled

### Disinfectants – Substances applied to nonliving objects in order to kill or eliminate microorganisms

### Required equipment

#### Varies based on situation – Either wide-spectrum or specific

#### Air disinfectants – Eliminate microorganisms suspended in air

#### Alcohols – Disinfect skin

#### Aldehydes – Eliminate spores or fungi

#### Oxidizing agents – Attack cellular structure of microorganisms

#### Phenolics – Used in household disinfectant soaps and hand washes

### Limitations

#### Only effective when

##### Can contact surface

##### Remains wet for extended period of time

#### Not all will offer residual activity

#### Once dry, stops working

## Evaporation

### Process where liquid portion of chemical product is allowed to evaporate

### End result may be total elimination of chemical or solid waste that may be dissolved or suspended in solution

### May occur with or without emergency responder intervention

### Advantage – Reduces amount of hazardous waste that will need to be removed

### Required equipment – Very little need for responder intervention

### Limitations

#### Vapors can be dangerous and not easily controlled

#### May not be feasible method of decon due to length of time for product to evaporate

## Isolation and Disposal

### Two-part process that may work in tandem with other methods

#### Isolation – Act of segregating contaminated equipment in effort to reduce exposure

#### Disposal – Final step in process

### Simplest form of decontamination

### Required equipment – Variety of bags and drums that will be used to contain contaminated items

### Limitations

#### Risk of cross contamination with isolation

#### May create sizable amount of hazardous waste

#### Can be costly

## Neutralization

### Can be considered form of chemical degradation

### Used in association with acids and bases

### Main objective – Bring pH of chemical as close to neutral as possible

### Typically used to decontaminate equipment

### Required equipment

#### Chemicals must be specific to contaminant in question

##### Care should be taken

##### Chemicals used can present own hazards

#### Litmus paper to check pH levels

### Limitations

#### Entirely product specific

#### No one chemical can be used to neutralize all

#### Difficult to perform

#### Wastewater must be collected and disposed of

#### Emergency responder must have specific product information and rely on help of product experts

#### May produce exothermic reaction

#### Should never be used on human skin

## Solidification

### Agent is applied to liquid spill and combines with liquid either chemically or physically to form solid

### Usually conducted by contractors to prepare hazardous substance for disposal

### Limits spread of contaminant and allows for easier handling

### Required equipment – Commercially available products such as Oilbond®

### Uses

#### Most helpful – Hydrocarbon spills

#### Also work – Aromatics, chlorinated solvents

### Limitations

#### May not alter hazards of target chemical

#### Reaction may produce heat or other dangerous by-products

#### May produce more hazardous waste than original target chemical

## Sterilization

### Results in destruction of all forms of microbial life

### Required equipment – Chemicals, steam, heat, or radiation

### Limitations

#### May be impossible or impractical to complete on scene or emergency or in decon lines

#### Best completed at facilities that can ensure complete and successful process

## Vacuuming

### Process of using high efficiency particulate air (HEPA) filters to remove dust, particulate, or other solid hazards from personnel and equipment

### Advantages

#### Removes particulate down to three microns

#### By isolating only particulate being removed, may reduce overall waste to be disposed of

### Required equipment – Specialized vacuums that must be compatible with materials being vacuumed

### Limitations

#### Can be time consuming

#### Equipment may be costly

#### Filters must be changed frequently

#### Exhaust air must be monitored to ensure that no product is bypassing filters

## Washing

### Includes use of solutions, solvents, and other surfactants that will help reduce adhesion between contaminant and material being cleaned

### Required equipment

#### Water supply

#### Variety of solutions

### Limitations

#### Wastewater must be contained and disposed of properly

#### May not be adequate for viscous substances

#### May not have positive effect if products are not miscible

Review Question: What are the advantages and limitations of each type of technical decontamination?

See pp. 396-405 of the manual for answers.

Section IV:	Mass Decontamination

# mass decontamination

pp. 406-408	Objective 4 – Compare methods of mass decontamination.

## Mass Decontamination

### Process of rapidly reducing or removing contaminants from multiple persons in potentially life-threatening situations

### Initiated when number of victims and time constraints do not allow establishment of in-depth decontamination process

### Steps to combat chaos if present on scene

#### Communicate with victims to direct them to decon gathering areas and through decon process

##### Hand signals

##### Signs with pictures

##### Apparatus public address systems

##### Megaphones

##### Other methods

#### Provide directions that are

##### Clear

##### Easily understood

##### Short

##### Specific

#### Mark decon corridors with

##### Barrier tape

##### Traffic cones

##### Other highly visible means

### Methods – Each has own advantages and limitations

#### Dilution

#### Isolation

#### Washing

### Mass decon showers

#### High volume, low pressure water stream

#### Delivered in fog pattern

#### Showering time is incident specific – May be

##### As long as two to three minutes when ideal

##### Shortened when large numbers involved

### May include use of existing facilities

#### Fire sprinklers

#### Public fountains

#### Chlorinated swimming pools

#### Swimming areas

### Recommended that victims remove clothing before showering

#### As much as possible, from head to toe

#### At least down to undergarments

### Clothing should be isolated for later disposal

## Ambulatory Victims

### Those who are able to understand directions, talk, and walk unassisted

### Should be directed to area of safe refuge within isolation perimeter to await prioritization for decontamination

### Factors influencing priority – Victims

#### With serious medical symptoms

#### Closest to point of release

#### Reporting exposure to hazardous material

#### With evidence of contamination on clothing or skin

#### With conventional injuries

## Nonambulatory Victims

### Civilians or responders who are unconscious, unresponsive, or unable to move unassisted

### May be more seriously injured than ambulatory patients

### May have to remain in place if sufficient personnel are not available to remove them from hot zone

Instructor Note: This information correlates with Skill Sheet 9-1. More information is found at the end of this lesson outline.

Review Question: How is mass decontamination performed differently for ambulatory and nonambulatry victims?

See pp. 406-408 of the manual for answers.

Section V:	Assessing Decontamination Effectiveness

# assessing decontamination effectiveness

pp. 408-409	Objective 5 – Explain how to assess decontamination effectiveness.

## Assessing Decontamination Effectiveness

### Required by OSHA in U.S.

### Should be conducted at start of process and as ongoing assessment

### May be done through use of monitoring and detection devices or visually

### Should include check of each individual; may be brief if large numbers of people are involved

### Should be done as individual exits decon corridor

### Redirect through decon if

#### Contamination is detected

#### Victims complain of symptoms or effects

#### Effectiveness called into question

### Tools and equipment

#### Store in decon area until emergency phase is completed

#### After being decontaminated, check to ensure all contamination removed before being placed back in service

### If ineffective, must be changed

### Testing effectiveness of decontamination process

#### Visual inspection – Using natural or ultraviolet light; look for visible stains if possible

#### Wipe sampling – Subject is wiped with cloth swab which is then sent out for analysis

#### Permeation testing – Sample is sent to lab for analysis

#### Cleaning solution analysis

##### Evaluates cleaning solution effectiveness during final rinse

##### If contaminants found in rinse water, additional cleaning and rinsing may be necessary

Review Question: What methods should be used to test the effectiveness of the decontamination process?

See pp. 408-409 of the manual for answers.

Section VI:	Decontamination Implementation

# decontamination implementation

pp. 410-419	Objective 6 – Describe implementation of decontamination.

## Site Selection – Factors

### Wind direction

#### Should be upwind of hot zone

#### If improperly located downwind, wind currents will blow mists, vapors, powders, and dusts toward responders and victims

#### Can be predicted by local weather service during long-term operations

### Weather – During cold weather, should be protected from blowing winds

### Accessibility

#### Must be away from hazards, but adjacent to hot zone

#### Should be as close as possible to actual incident due to time factors

##### Travel time in hot zone

##### Time allotted to work in hot zone

##### Travel time back to decontamination site

##### Decontamination time

### Terrain and surface material

#### Should be flat or sloped toward hot zone to allow contaminants to drain toward or into hot zone

#### If not possible, may have to place barrier to ensure confinement of unintentional release

#### Other considerations

##### Diking around site prevents accidental contamination escaping

##### Best if site has hard, nonporous surface to prevent ground contamination

##### When hard-surfaced driveway, parking lot, or street is not accessible

###### Use impervious covering on ground

###### Salvage covers or plastic sheeting will prevent contaminated water from soaking into earth

##### Covers or sheeting should be used to form corridor regardless of surface

### Lighting and electrical supply

#### Should be adequate to reduce potential for personnel injury

#### If permanent lighting is unavailable or inadequate, portable lighting will be required

#### Portable generators may be necessary

### Drains and waterways

#### Should not be located near storm and sewer drains, creeks, ponds, ditches, and other waterways unless approved for use as contaminated system

#### Construct dike to protect storm drain opening

#### Protect all environmentally sensitive areas if possible

#### Never delay decon to protect the environment if the delay will increase injury to those affected

### Water supply – Must be available if wet decon is used

## Factors Affecting Decontamination

### Based on products being decontaminated, amount of wash or rinse stations may vary

### Chemical factors affecting decontamination

#### Toxic chemicals

##### Pose significant health risk to entry personnel and others

##### Should be thoroughly removed if post skin absorption hazard

##### Require that all surfaces be completely decontaminated

#### Water soluble chemicals

##### Should be washed or diluted; may also remove other chemicals

##### Results in surfactants and contaminants in waste water

#### Water reactive chemicals

##### Difficult to remove from garments or equipment

##### May already be reacting

##### Best removed by brushing, blowing, or vacuuming

##### May require water dilution

##### May require copious amounts of water

## Decontamination Corridor Layout

### Will vary and be specific to products in question

### Should be

#### Established in such configuration that will bridge space between hot and warm zone

#### Wide enough to accommodate operation

#### As long as needed to provide adequate room

#### Separated for humans and equipment/vehicles

#### Placed on base of sheet plastic that is

##### Water resistive

##### One continuous piece

#### May include berm to assist with containment – Can be created with use of charged fire hose inflated with either air or water

### Typical decon corridor construction

#### Gross tool drop – Containment for temporary storage of contaminated tools and equipment

#### Gross rinse – Liquid retention pool along with showering nozzle or wand

#### Wash Station 1

##### Liquid retention pool

##### Buckets with approved cleaning solutions

##### Brushes for washing and scrubbing

##### Nozzles or wands for rinsing

#### Wash Station 2

##### Liquid retention pool

##### Buckets with approved cleaning solutions

##### Brushes for washing and scrubbing

##### Nozzles or wands for rinsing

#### Undressing area – Chairs and containers for removed PPE and clothing

#### Personal decon shower – May be at site or off site

#### Medical monitoring – Area where staff can monitor vitals and conditions of all exiting

Review Question: In what order should the decon corridor be laid out?

See p. 413 of the manual for answers.

Instructor Note: This information correlates with Skill Sheets 9-2 and 9-3. More information is found at the end of this lesson outline.

### Identification of the decontamination line

#### Should be separated from surrounding warm zone

#### Should be visible and stand out

#### Ensures that responders in need of decontamination do not waste time looking if air supply is diminishing

#### May be identified by

##### Cones

##### Barrier tape

##### Barricades

##### Brightly colored tarps

### Containment

#### Required so that wastewater can be disposed of properly

#### Includes containment device at each wash/rinse station

#### May include

##### Use of pools with elevated platform on which to stand

##### Can include plastic sheathing with berm

#### Should include containment of loose items such as tools and clothing articles – In separate containers

### Personnel

#### Must be in adequate amounts to perform work needed

#### Should be at least one person assigned to each station; two if staffing allows

#### Should include supervisor assigned to oversee operation; should not be working part of decon line

### Equipment

#### Must include CPC in proper size and style for all decon line members

#### Must include respiratory equipment

#### Essential equipment necessary

##### Tarps, plastic sheeting, or containers – For creation of equipment drop

##### Base cover – Should be large enough to contain entire decontamination effort

##### Containment pools – Contain water runoff from washing and rinsing operations

##### Isolation steps – Keep responders elevated with feet out of water runoff

##### Showers – Should supply adequate flow of water

##### Brushes – Used to scrub CPC

##### Solution containers – Used to hold variety of decontamination solutions

##### Containers for discarded items – May include trash cans, half barrels, or heavy bag-lined cardboard boxes

##### Rescue devices – Used to decontaminate nonambulatory victims; can be easily cleaned and reused

##### Water transport – Required to transfer water from apparatus to decon site

### Procedures

#### Must be conducted in orderly manner

#### Procedures should address normal operations as well as emergency situations

#### Prioritizing entry

##### Air levels

##### Level of contamination

##### Medical emergencies

##### Compromise of PPE integrity

#### Should contain provisions for medical evaluation along with proper hydration

## Other Implementation Considerations

### Law enforcement and military personnel

#### May be a unique challenge – Often carry weapons and will not surrender them to civilian personnel

#### May require haz mat trained law enforcement officer

#### Require special decontamination for weapons, ammunition, and other equipment

#### May require separate corridor under supervision of protected law enforcement officers

### Canines – May require special precautions and procedures for decontamination

### Criminal suspects

#### Must be supervised by law enforcement throughout process

#### May require handcuffs be removed and decontaminated

## Cold Weather Decontamination

### Can be difficult to execute safely

### If temperatures are 64°F (18°C) or lower, answering the following questions will provide information on how best to protect victims

#### Are wet methods necessary, or can disrobing and dry methods accomplish effective decon?

#### Is wind chill a factor?

#### Is shelter available for victims during and after decon?

#### Is it possible to conduct decon indoors?

#### If decon will be conducted indoors, how will victims be transported?

#### If decon must be conducted outside in freezing temperatures, how will icy conditions be managed?

WARNING!: Individuals who have been exposed to deadly levels of chemical agents should undergo emergency decon immediately, regardless of ambient temperatures.

## Medical Monitoring

### Must be provided to any personnel who have been working in CPC and those who have been decontaminated

### Should include assessment of vital signs at several intervals after decon; all findings should be thoroughly documented

### Should include

#### Body temperature

#### Pulse

#### Respiratory rate

#### Blood pressure

#### Auscultation of lung sounds

#### Evaluation of body weight

#### Mental status

#### Other tests or evaluations as required by the AHJ

## Evidence Collection and Decontamination

### Will be performed under direction of law enforcement

### Must be appropriately packaged

### Exterior of packaging will be decontaminated as passes from hot zone to cold zone

### Must include chain of custody documented in writing

## Termination

### Debriefing – Should be held as soon as practical

### Return of personal items – May be function of law enforcement

### Delayed health effects – Information should be provided to exposed persons

### Reports and documentation – May be required by emergency response plans and/or SOPs

### Exposure report – Required of all responders who may have been exposed; information might include

#### Activities performed

#### Product involved

#### Reason for being there

#### Equipment failures or malfunction of PPE

#### Hazards associated with product

#### Symptoms experienced

#### Monitoring levels in use

#### Circumstances of exposure

### Follow-up examinations – May be required

### Records and reports – Follow OSHA standard 29 CFR 1910.1020

Review Question: What processes should be used to terminate a decontamination incident?

See pp. 418-419 of the manual for answers.

Section VII:	Special Considerations

# special considerations

pp. 419-420	Objective 7 – Identify special considerations for decontamination.

## Radiation

### Requires special consideration during mitigation and decontamination

### Requires practice of time, distance, shielding tactic

### May require assistance of technical experts, hospitals, universities, and/or the Department of Energy

### Decontamination

#### Should be stand-alone decon line separate from others

#### Should be equipped with own containment devices

#### Procedures

##### Monitor victims with detector

##### Isolate clothes and equipment

##### Wash and rinse victim thoroughly

##### Have victim take personal shower, washing methodically

##### Monitor victims again in areas of direct contact

## Pesticides – May

### Require recommendations from pesticide manufactures

### Require resources such as the Hotline at Texas Tech University and CHEMTREC

## Infectious Agents – May

### Offer special challenges

### Only be destroyed by sterilization

### Require assistance from state health department or Centers for Disease Control

## Decontamination During a Terrorist Event

### Often require outside help from technical specialists – Know agencies before incident takes place

### May include large numbers of victims – Requires mass emergency decon

#### Remove clothing first

#### Set up corridor using fog streams from aerial device or multiple pumping apparatus

#### Contain water runoff, but put life safety before environmental protection

Review Question: What special considerations should be taken during decontamination of a terrorist event?

See pp. 419-420 of the manual for answers.

Section VIII:	Skill Sheets

# skill sheets

pp. 422-425	Objective 8 — Perform mass decontamination operations involving ambulatory and nonambulatory victims.

## Skill Sheet 9-1

### For this skill sheet, students will perform the skills to perform mass decontamination operations involving ambulatory and nonambulatory victims

### This skill sheet can be found in the Skills Evaluation Checklist 9-1 on the curriculum flash drive

### This checklist corresponds with the information on pp. 407-408 of the manual

p. 426	Objective 9 — Perform technical decontamination operations in support of entry operations.

## Skill Sheet 9-2

### For this skill sheet, students will perform the skills to perform technical decontamination operations in support of entry operations

### This skill sheet can be found in the Skills Evaluation Checklist 9-2 on the curriculum flash drive

### This checklist corresponds with the information on p. 413 of the manual

pp. 427-429	Objective 10 — Perform technical decontamination operations involving ambulatory and nonambulatory victims.

## Skill Sheet 9-3

### For this skill sheet, students will perform the skills to perform technical decontamination operations involving ambulatory and nonambulatory victims

### This skill sheet can be found in the Skills Evaluation Checklist 9-3 on the curriculum flash drive

### This checklist corresponds with the information on p. 413 of the manual

Section IX:	Summary and Review

# SUMMARY AND REVIEW

## Chapter Summary

### Decontamination is conducted to prevent the spread of contaminants from the hot zone to other areas.

### Decontamination is done to reduce the level of contamination to levels that are not harmful.

### Proper decontamination of all personnel and equipment is necessary to ensure the health and well-being of all personnel involved.

## Review Questions

### What resources may be used in selecting decontamination methods? (394-395)

### What are the differences between physical and chemical decontamination methods? (395-396)

### What are the advanatages and limitations of each type of technical decontamination? (396-405)

### How is mass decontamination performed differently for ambulatory and nonambulatory victims? (406-408)

### What methods should be used to test the effectiveness of the decontamination process? (408-409)

### In what order should the decontamination corridor be laid out? (413)

### What processes should be used to terminate a decontamination incident? (418-419)

### What special considerations should be taken during decontamination of a terrorist event? (419-420)