Chapter 11

Product Control

Lesson Goal

After completing this lesson, the student shall be able to describe the various options available in controlling hazardous materials products in the event of an incident.

Objectives

Upon successful completion of this lesson, the student shall be able to:

1.	Describe product control. [NFPA® 472, 7.3.1.1, 7.3.1.2, 7.3.2.1, 7.3.2.2, 7.3.5.1(1-9, 11, 16, 17) 7.4.3(5)]

2.	Explain damage assessment and predicting behavior. [NFPA® 472, 7.2.2.5, 7.2.2.6]

3.	Describe plugging and patching. [NFPA® 472, 7.3.5.1 (13-14)]

4.	Identify cargo tanks. [NFPA® 472, 7.4.3(9-11), 7.4.4]

5.	Identify pressurized containers. [NFPA® 472, 7.2.2.2(3), 7.4.3(1-2)]

6.	Identify characteristics of drums. [NFPA® 472, 7.4.3(3)]

7.	Explain overpacking. [NFPA® 472, 7.3.5.1(12), 7.4.3(4)]

8.	Describe specialized product control techniques. [NFPA® 472, 7.3.5.1(10, 15, 18-19), 7.4.3(7)]

9.	Control a leak using a dome cover clamp. [NFPA® 472, 7.4.3(8); Skill Sheet 11-1]

10.	Contain a leak from a fusible plug using an “A” kit. [NFPA ®472, 7.4.3(1); Skill Sheet 11-2]

11.	Contain a leak from a fusible plug using a “B” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-3]

12.	Control a chlorine leak from fusible plug threads using an “A” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-4]

13.	Control a leak from fusible plug threads using a “B” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-5]

14.	Control a chlorine leak from a cylinder sidewall using an “A” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-6]

15.	Control a leak from a cylinder sidewall using a “B”
kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-7]

16.	Control a chlorine leak from a valve blowout using an “A” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-8]

17.	Control a leak from a valve blowout using a “B” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-9]

18.	Control a chlorine leak from a valve gland using a “C” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-10]

19.	Control a chlorine leak from valve inlet threads using an “A” kit.  [NFPA® 472, 7.4.3(1); Skill Sheet 11-11]

20.	Control a leak from valve inlet threads using a “B” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-12]

21.	Control a chlorine leak from a valve seat using an “A” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-13]

22.	Control a leak from a valve seat using a “B” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-14]

23.	Control a chlorine leak from a valve stem blowout using an “A” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-15]

24.	Control a leak from a valve stem blowout using a “B” kit. [NFPA® 472, 7.4.3(1); Skill Sheet 11-16]

25.	Contain a drum leak from a bung. [NFPA® 472, 7.4.3(3); Skill Sheet 11-17]

26.	Control a drum leak from a chime. [NFPA® 472, 7.4.3(3); Skill Sheet 11-18]

27.	Control a drum leak from a forklift puncture. [NFPA® 472, 7.4.3(3); Skill Sheet 11-19]

28.	Control a drum leak from a nail puncture. [NFPA® 472, 7.4.3(3); Skill Sheet 11-20]

29.	Overpack a drum using the slide-in method. [NFPA® 472, 7.4.3(4); Skill Sheet 11-21]

30.	Overpack a drum using the rolling slide-in method. [NFPA® 472, 7.4.3(4); Skill Sheet 11-22]

31.	Overpack a drum using the slip-over method. [NFPA® 472, 7.4.3(4); Skill Sheet 11-23]

Instructor Information

This is the lesson covering product control. This lesson describes the various ways in which hazardous materials products may be contained or controlled during hazardous materials operations.

Important instructor information is provided in shaded boxes throughout the lesson plan. Carefully review the instructor information before presenting the lesson.

This lesson includes skill evaluation checklist(s) that assess student ability to perform various kinds of product control operations. These checklist(s) will allow students to meet the requirements of learning objectives 9-31.

Methodology

This lesson uses lecture, discussion, and skills evaluation checklists. The level of learning is application.

Outline Contents

| Section | Outline Pages | Text Pages |
| --- | --- | --- |
| Section I: Introduction to Product Control | 7 | 502 |
| Section II: Damage Assessment and Predicting Behavior | 13 | 506 |
| Section III: Product Containment: Plugging and Patching | 26 | 516 |
| Section IV: Cargo Tanks | 35 | 522 |
| Section V: Pressurized Containers | 47 | 528 |
| Section VI: Drums | 55 | 535 |
| Section VII: Overpacking | 58 | 536 |
| Section VIII: Specialized Product Control Techniques | 62 | 540 |
| Section IX: Skill Sheets | 68 | 545 |
| Section X: Summary and Review | 79 | 544 |

Audiovisuals

- Visuals 11.1 to 11.66 (PowerPoint® Presentation)

Evaluation

- Chapter 11 Quiz

- Chapter 11 Test

- Skill Evaluation Checklists 11-1 to 11-23

Presentation Tools

Interactive Objects allow instructors to present information a piece at a time by clicking on hot spots in a larger image.

Each object is labeled in the Lesson Outline and indicated in the PowerPoint® presentation by a RED arrow in the top left corner of the image. This lets instructors know to use the mouse to explore all of the information on the slide.

After all of the information is displayed a reset arrow will appear in the bottom right corner of the image. Instructors can use this to remove the text and quiz students on content just covered or simply move on to the next slide.

To move to the slide after an interactive object, select the Click for next slide arrow on the left side of the slide.

Videos are used as discussion starters or to illustrate a concept or process discussed in the chapter.

These are labeled in the Lesson Outline and indicated in the PowerPoint® presentation by the Click image to play arrow on the left side of the slide.

Section I:	Introduction to Product Control

# introduction to product control

pp. 502-506	Objective 1 – Describe product control.

## Product Control

### Essential for mitigation of haz mat incidents

### Allows emergency response crews to make educated decisions on PPE selection and response tactics

CAUTION: All procedures at hazardous materials incidents must be performed with tools and equipment that are appropriate for the task and the products involved.

### Tactics often defensive or offensive

#### Defensive

##### Typically do not involve direct contact

##### Typically no work performed on container

##### Product isolated outside container

#### Offensive

##### May involve direct contact

##### Tech works to contain product to container

### Regardless of tactic, safety is paramount

### Confinement and containment may occur simultaneously

### Tools and equipment must be used, inspected, and maintained per AHJ’s SOPs and manufacturer’s recommendations and specifications

## Nonintervention

### Used when impossible to approach container to stop leak or get close enough to attempt containment

### First priority – Safety

### Decisions must be balanced with public safety considerations

### Determined as necessary by risk-based response

## Defensive Operations

### Emergency response personnel will work to confine product’s release and limit physical size of release area

### Special consideration – Environmental protection

### May include any means available to limit size of release area

### Techniques

#### Gas or vapor leaks

##### Ventilation

##### Dispersion

##### Dissolution

##### Blanketing

#### Liquid leaks on a surface

##### Diking

##### Absorbing

##### Neutralization

##### Diverting

##### Solidification

##### Emulsification

##### Retaining

##### Applying gels

##### Adsorption

##### Dilution

##### Gelation

#### Liquid leaks in water

##### Booming

##### Diverting

##### Damming

##### Absorption

##### Dispersion

#### Solid spills on surface – Blanketing/covering

Note: Some tactics listed above may be considered offensive rather than defensive since they are typically performed by haz mat technicians in the hot zone.

## Offensive Operations

### Usually hands-on operations that place emergency responder in very close proximity to released product

### Only performed by properly trained personnel

### Require extreme care

### Require risk-based response

#### Definitive product identification

#### Research and response information

#### Response evidence

### First question – “Will an offensive tactic make a difference?”

### Safety of emergency responder must remain top priority

### Tactic that will not have positive outcome must not be allowed

### Questions that should be continuously answered

#### What is the material? What do we know about it?

#### Are the correct resources and equipment available, based on the chemical and physical properties, to help mitigate the situation?

#### Why is the material leaking?

#### What is the risk versus benefit to the entry team for an offensive operation?

#### What hazards can be realized if offensive actions are not taken?

#### What stresses caused the breach in the container and is the stress likely to continue? Can we change or remove the stressors?

#### Is the material stable and can it be continuously monitored?

#### Will the offensive operations have a positive outcome?

### Keep tactic simple – If offensive operation is warranted, some mitigation and control tactics may include

#### Closing or tightening valves, plugs, caps, or lids

#### Using clamps and automatic plugs to suppress dome cover leaks

#### Patching or plugging small holes

#### Applying inflatable devices or other equipment for larger splits, gouges, or tears

#### Uprighting or repositioning container so that material is below breach

#### Decreasing container pressure

#### Suppressing fire

#### Suppressing and dispersing vapors

#### Transferring the product

#### Venting and burning

#### Sparging (scrubbing)

#### Flaring

#### Neutralizing an acid or base

Review Question: What are the differences between nonintervention, defensive operations, and offensive operations?

See pp. 502-506 of the manual for answers.

Section II:	Damage Assessment and Predicting Behavior

# Damage Assessment and predicting behavior

pp. 506-516	Objective 2 – Explain damage assessment and predicting behavior.

## Damage Assessment and Predicting Behavior

### Technicians must be prepared to act when container’s construction and safety features are compromised

### Goal of damage assessment – Determine status of three primary concerns

#### Container construction material

#### Type of stress to which container has been subjected

#### Internal pressure of container

Note: The standards published in 49 CFR 100-199 cover both container shipping requirements and construction requirements. Many of these were discussed briefly in Chapter 10.

### Requires additional training

### May require specialist

### General goal – Assess situation to minimize risk

## Early Size-Up

### Gives response team initial view of problem

### Serves as baseline to determine if conditions are improving or worsening

### Information gathered critical to successful incident mitigation

### May only be performed by personnel wearing appropriate PPE

### Items to consider and identify

#### Number of containers involved

#### Condition of containers and any visible stressors

#### Container markings for product identification

#### Orientation of containers to determine stability for offensive operations

## Container Information

### Critical for proper damage assessment

### Aluminum containers

#### Tend to be relatively light and can withstand impact stress well

#### Do not react with hydrocarbons

#### Cannot be subjected to substantial internal pressures

#### Do not plug well

#### Can be easily gouged and weakened

#### Will not withstand friction

### Steel

#### Considered ferrous metal

##### If strong, will not be ductile

##### If strengthened, ductility reduced

#### Easy to examine for

##### Elongation

##### Heat stress

##### Fractures

#### Easiest of all metals to plug

#### Mild steel

##### Can often withstand dents

##### Does bend and distort easily

##### Will chemically react with many materials

#### When welded, weakest point will be at either side or welded seam

#### When inspecting – Smaller radius of bend or dent, more likely metal has been weakened and may fail

#### When small diameter bends or dents happen, fractures occur on inside of container opposite damaged portion which will not be visible on inspection

#### Smaller bend or dent in container, greater reduction in overall thickness of metal

### High strength low alloy

#### Very high carbon content

#### Extremely strong and abrasion resistive

#### Issued in construction of many pressure vessels

#### Limitations

##### Reacts with corrosives

##### Fractures easily

##### Difficult to plug

### Austenitic stainless

#### Iron based with content of chromium or nickel

#### Very corrosion resistive

#### Does not fracture

#### Abrasion resistant

## Potential Container Stress

### Can include

#### Changes in temperature that may affect product or container

#### Physical damage that would disfigure or weaken container

#### Chemical reactions such as polymerization or mismatched chemicals or containers

#### Excessive product weight

#### Increased product vapor pressure in damaged tank

### Unusual stresses – May cause disintegration of container

#### Acid reactions

#### BLEVE due to increased vapor pressure

### Stress may cause

#### Runaway cracking

#### Opening of closures

#### Punctures

#### Splits

#### Tears

## Types of Container Damage

### When evaluating condition of tanks and containers, use consistent terminology

#### Undamaged, no product release

#### Damaged, no product release

#### Damaged, product release

#### Undamaged, product release

Instructor Note: Refer students to the info box titled “U.S. Federal Railroad Administration Research” on p. 511 of the manual. Discuss with students the concerns specific to railroads.

### Cracks

#### Reason for concern, no matter how small

#### Require off-loading as soon as possible

#### If accompanied by dent, score, or gouge, stabilize tank without moving container

#### If depth of fracture cannot be determined, consider container critical and likely to fail

#### Fillet welds

##### Often used to attach ancillary items to tank

##### If cracked, not critical issue unless crack extends to container

#### In tank car welds used to attach brackets or reinforcement plates, not critical unless crack extends into base metal

#### Research being done into damage tolerance of crack growth in welded stub sills

### Dents

#### If run parallel to long axis of container, can be critical based on manufacture date

#### May be considered critical if associated with gouges and cracks

#### Pressurized tanks constructed before 1966 of either 212-B or 515-B grade steel

##### Considered to be in critical condition if dent of less than 4 inches (102 mm)

##### Same true for pressurized container built during or after 1966 that uses TC-128 steel and has dent with inside radius of less than 2 inches (51 mm)

#### Massive dents in heads of tank generally not serious unless gouges or cracks present

#### Small dents in head of tank not exceeding 12 inches (305 mm) in diameter, in conjunction with cold work in bottom of dent are marginal if they show radius of curvature less than 4 inches (102 mm) for tanks built before 1967

### Scores and gouges

#### Not critical as crack, but must be monitored

#### Not critical – If crosses welded seam and metal removed is no more than weld reinforcement, and no base metal is removed, vessel

#### Critical

##### If removes base metal on welded seam

##### Those that cross a weld and affect heat-sensitive zones

##### If cross welded bead of pressurized container and come in contact with base metal

#### Most dangerous – Longitudinal score that runs length of container

#### Cannot ignore – Circumferential scores; could constitute longitudinal notch

#### Tanks should be uploaded in place when internal pressure exceeds half allowable internal pressure

### Heat affected areas: Welds, rail burn, wheel burn, and road burn

#### Heat affected zone – Area of base metal container which has its microstructure altered by welding or other heat-intensive operations

#### Heating then recooling of base metal will change properties immediately adjacent to heated area

#### Extent of property change will be different with each base metal

#### Mechanical stresses can lead to heat-affected areas

#### Burn damage similar to gouge

#### If depth of burn or gouge exceeds 1/8 inch (3.2 mm), consider off-loading container

#### Critical – If burn crosses welded bead of pressurized container and comes in contact with base metal

## Predicting Likely Behavior

### Part of understanding what is involved and what may happen during operation

### Can be determined through product identification and reconnaissance of area and containers involved

### Ask and answer following questions

#### Where is the hazardous material or container likely to go if released during the emergency?

#### Why is the hazardous material likely to go there?

#### When is the hazardous material likely to go there?

#### How will the hazardous material get there?

#### What harm will occur when the hazardous material gets there?

### Must obtain as much information as possible

### Knowing contents ensures decisions can be based on chemical and physical properties of product or products involved and quantities involved

### Determining following properties can help emergency responders in predicting likely behavior

#### Does the hazardous material have energetic properties or can it create energy as a condition?

#### Is the product flammable or combustible?

#### What is the state of matter and what is its vapor pressure?

#### Is the product an aggressive chemical?

#### What effects will this product have on human life?

#### If the product leaves its container, can it mix with water? Can it be diluted?

#### Where will the material go when it leaves its container?

### To determine condition of container, essential to know what it was like in original state

### Internal pressure

#### Determined after involved products

#### May cause failure when tank placed under thermal or chemical stress or has been damaged

#### If tank fails while offensive operation underway, results may be devastating

#### Can be deciding factor in whether tank can be plugged or patched

#### In some cases, may have to be reduced before offensive operation can begin

#### Determining may be difficult

##### Type will provide first clue

##### Environmental conditions must be considered

##### Pressure gauges should be read

##### Advanced methods

###### Attach pressure gauge to vapor valve

###### Determine product temperature and estimate vapor pressure; use reference source to provide temperature/pressure curves

### Amount of product

#### May need to be determined

#### Can be checked with thermal imager (noninsulated tanks)

#### Can be checked with built in level device

### Consider exposures and response conditions

#### What effect on life and the environment will the product have if no offensive actions are taken?

#### What will the effects be if there is nointervention?

#### Is the container located indoors or outdoors?

#### What are the weather conditions and what effects will they have on the product?

#### Is it daytime or nighttime?

#### Is visibility an issue?

Review Question: What three primary concerns should be determined during damage assessment?

See pp. 506-516 of the manual for answers.

Section III:	Product Containment: Plugging and Patching

# product containment: plugging and patching

pp. 516-522	Objective 3 – Describe plugging and patching.

## Product Containment: Plugging and Patching

### If offensive operation necessary, technician must identify containment techniques that can be used to restrain product within container

### Containment techniques and procedures vary in complexity

### Regardless of method, must be planned carefully with consideration for

#### Operating times

#### Personnel requirements

#### Product hazards

#### Resource requirements

## Plugging

### Equipment

#### Can be simple as long as it is effective

#### Commercially available, but may also be homemade

### Plug must be larger than opening and must be compatible with container and contents

### Simplest method – Insert compatible material inside hole

### May work best if wrapped with lightweight material before being inserted in hole

#### Lightweight cloth

#### Light gauge rubber gasket material

### May require use of compatible caulk or putty in addition to plug

## Patching

### Often required when breach in container too large to be plugged

### May be more complex based on

#### Damage to container

#### Whether protruding edges of breach are on side to be patched

### Type and equipment based on reconnaissance of affected area

### May include use of straps or pneumatic equipment

### May include use of two- or three-part epoxy compatible with both chemical and material being patched

### May be improvised; may require creativity

### Easiest to use – Prefabricated patches

### Box patch

#### Used when protruding edges of breach located on side of container where patch is to be attached

#### Must be made of material compatible with both container and product

#### Should be lined with gasket material

#### Once in place over breach, use shoring straps or other means to hold box in place

#### Methods used depend on container’s

##### Size

##### Location

##### Orientation

### Hook bolts and patch

#### Usually fabricated from round stock

#### Come in variety of diameters and shapes

#### Manufactured in orientation so that head of bolt will pass through hole into container and hook to inside of container as fastened by bolt or nut on outside

#### May be manufactured in shape of T, L, or J

#### May include wood or steel strong backs for additional strength

#### Directions for use

##### Insert head end of bolt through container fully

##### Rotate head end so that it cannot be pulled back through hole

##### Insert pad or gasket through stock of bolt along with plank or strong back

##### Tighten nut on threaded end of bolt to secure patch

#### May be used with variety of patches and in various combinations

### Pipe patches

#### May require different types of patches depending on conditions

#### Variety of items can assist

##### Pipe wraps

##### Bar clamps

##### Other clamps

#### Must be mindful of compatibility with product

#### Pressure

##### Consideration when patching

##### Of slight concern – Use soft patch

###### Combination of gasket material and wooden plugs or wedges inserted into hole

###### Insert plug or wedge into pipe far enough to control leak

###### Increase pressure if plug or wedge inserted too far

###### Cut or trip excess soft patch material outside pipe

###### Cover damaged area with gasket material secured in place using

String

Wire

Tape

##### If larger concern – Use jubilee pipe patch

###### Modification of commercial hose clamp

###### Usually manufactured of commercial sheet metal

###### Rolled into needed diameter

###### Tabs bent on each edge form a flange

###### Holes drilled into flange to allow patch to be secured to pipe

###### To install

Place piece of rubber or other gasket material over breach

Install and secure patch over rubber

Patch should be large enough to cover and overlap damaged area by at least 2 inches (51 mm) on all sides

Tighten bolts to secure patch in place

#### Elbow patch

##### Can be used to secure hole on curved portion of pipe

##### Constructed of woven-type cloth that incorporates resin hardener

##### Cloth shaped to contour pipe and then covered with multiple layers of PVC

##### May be possible to repressurize pipe once resin has hardened and patch is secure

## Specialized Plugging and Patching Equipment

### Equipment varies and requires specialized training and knowledge of product

### A-kit

#### Chlorine Institute’s Emergency Kit “A”

#### Designed for use with compressed gas cylinders

#### Can be used to contain and control leaks in and around cylinder valve and in side wall of chlorine cylinders

### B-kit

#### Chlorine Institute’s Emergency Kit “B”

#### Designed for use with chlorine ton containers

#### Can be used to contain and control leaks in and around ton container valves

#### Can control leaks in side walls of container

### C-kit

#### Chlorine Institute’s Emergency Kit “C”

#### Manufactured to design specifications of Chlorine Institute

#### Contains devices to stop leaks at safety valve or angle valves of

##### Standard DOT 105J500W chlorine tank cars

##### DOT MC311 cargo tanks

##### DOT 51 portable tanks in chlorine service

#### Equipped with variety of hand tools

#### Contains specific tools to help contain leaks in and around angle valves and pressure relief devices

#### Can only be used by trained personnel

### Midland kit

#### Created by Midland Manufacturing

#### Specifically used with pressurized tank cars

#### Packaged in three individual containers

#### Designed to assist in mitigating leaks in valves from

##### Chlorine tanks

##### Liquid petroleum gas tanks

##### Anhydrous ammonia tanks

#### Can only be used by personnel specially trained with this equipment and on large tank cars

Review Question: How are plugging and patching used to contain hazardous materials?

See pp. 516-522 of the manual for answers.

Section IV:	Cargo Tanks

# cargo tanks

pp. 522-528	Objective 4 – Identify cargo tanks.

## Cargo Tanks

### Major incidents occur infrequently

### Majority of problems with cargo tanks involve issues with valves and fittings

### If involved in incident, damaged cargo tank must be inspected thoroughly to determine extent of damage

#### Inspect all accessible surfaces

#### Note

##### Type of damage

##### Location of damage

##### Direction of damage

##### Extent of damage

#### Jacketed cargo tanks may be difficult to inspect without removing jacket

## Methodology of Leak Control

### Certain cargo tanks can pose specific hazards

#### MC 306/DOT 406

#### MC 307/DOT 407

#### MC 312/DOT 412

### Considerations

#### Leak may be liquid or vapor

#### Liquid leaks may pose serious issues based on temperature and massive expansion of product

#### Leaks may occur in multiple locations

#### Stress involved and material of container may be far ranging

#### Splits, tears, or punctures may be present in multiple locations

#### Tanks may be breached in several locations

#### Harmful vapors may be released from leaks

#### Fresh air may be drawn into tank

### Dome cover leaks

#### Several methods to stop

##### Wooden wedges

##### Commercially available devices

#### If 306/406 tank dome is leaking

##### Dome cover clamp may be used

###### Number of types available

###### Requires specially trained technician

##### Most gaskets in this area will leak even when new

##### Observe any conditions that indicate reactivity with container or any other products or materials

#### If more than one dome is leaking, evaluate situation and determine order clamps will be installed

Instructor Note: This information correlates with Skill Sheet 11-1. More information is found at the end of this lesson outline.

### Addressing breaches in cargo tanks

#### May include

##### Irregular shaped holes

##### Punctures

##### Splits or tears

##### Leaking valves and caps

##### Leaking manway gaskets

##### Leaking piping

#### Similar to plugging or patching drum or other type of pressure cylinder

##### Product volume may be more substantial

##### Use different-sized wooden plugs in association with lead wool or putty

#### All products must be compatible with product and container

#### Cargo straps may be used in conjunction with pneumatically operated air bags

#### Ensure tank is stable and properly shored before beginning

#### Requires proper PPE and constant air monitoring

Note: Responders must be prepared to control contents should container failure occur during plugging and patching operations.

## Methods and Precautions for Fire Control

### Aluminum tanks

#### Commonly used in MC 306/DOT 406

#### Will begin to melt at approximately 1,200°F (650°C)

#### If breached and product ignites, liquid will act as heat sink and fire will burn at liquid level

#### As liquid and vapors consumed, exposed aluminum shell will melt and fail

### BLEVE

#### Possibility whenever flammable liquid burning in container

#### Precautions should be taken to prevent

### If no product spilled, tank may burn for hours

### May be wise to allow fire to burn with limited intervention on tank

#### Exposures should be considered

#### Roadway incidents – Bridges and overpasses

#### Priorities

##### Protection of life

##### Protection of exposures

##### Confinement of any product that may have escaped from tank but has not ignited

## Product Removal and Transfer Considerations

### If MC 306/DOT 406, MC 307/Dot 407, or MC 312/Dot 412 damaged, may be necessary to remove product into viable container

### As much product as possible should be removed before cargo tank uprighted

### Dangerous to attempt to upright damaged cargo tank that still has product in it

### Options depend on

#### Type of product

#### Containers involved

#### Container stress

#### Orientation of container

#### Incident-specific variables

### May be performed by specialized contractors

### Emergency responders will maintain command; must be specially trained

### When off-loaded

#### Tank and area should be surveyed to determine safe method for transferring product

#### Can help reduce stress and lessen chance of total failure

### Observations when transferring

#### Location of additional leak points if any

#### Size and compatibility of transfer container

#### Recirculation of product

#### Cooling and heating of products

#### Availability of proper tools and equipment to complete job

#### Increases to scene size and control area

### Available methods

#### Portable pumps

##### Variety of sizes

##### Used to move liquids

##### May be powered by

###### Electric

###### Gasoline

###### Diesel

###### Power take-off (PTO)

###### Water

###### Air

##### Type and size should be based on

###### Product being transferred

###### Capacity of receiving container

###### Lift and flow capacities needed at scene

#### Pressure differential pumps

##### Used to create pressure differential between two tanks to transfer vapors and gases

##### Vapor compressor creates positive pressure differential to move product by

###### Pulling vapors from receiving tank

###### Compressing them

###### Forcing them into damaged tank car

##### Increased pressure in damaged tank pushes product into receiving tank

##### Consider how much pressure damaged container can take

##### May be used in tandem with portable pumps to increase speed and efficiency of transfer

#### Vacuum trucks

##### Have mounted vacuums

##### Can handle variety of products

###### Flammables

###### Corrosives

#### Betts valves

##### Emergency unloading fixture equipped with internal self-closing stop valve

##### Designed to allow emergency responders to unload overturned tank through capped 3 inch (76 mm) NPT cleanout without spillage of product

##### Permits removal of clean-out cap and product discharge through proper hoses to level of clean-out cap

##### Can be used in off-loading operations of MC 307/DOT 407 highway cargo tanks

### Safety considerations

#### Safety primary concern

#### Only personnel involved should be in general area of transfer operation

#### Personnel should wear PPE

#### Equipment used in transfer must be compatible with materials involved

### Container stability

#### Container should be shored and stabilized before transfer operation started

#### Bracing must be in place

#### Container may shift during transfer operations

### Air monitoring

#### Should be ongoing

#### Portable and gas-powdered equipment may be ignition source

#### LEL readings should be constantly monitored

#### Priorities – Elimination of

##### All ignition sources

##### Use of vapor suppression

### Bonding and grounding

#### Reduces risk of static electricity

##### When two materials in contact, electrons may move from one material to the other

##### When materials separated, balance disrupted

##### May result in flash fire or explosion

#### Bonding – Conductor used to connect objects together

#### Grounding

##### Means of connecting objects to ground

##### Can eliminate differences between objects and ground

#### To safely perform, begin with damaged vehicle

##### Tank and all appliances bonded and connected to receiving tank

##### Place all bonding cables on clean surfaces free of paint or grease

##### Do not use cables with alligator clips

#### Steps

##### Verify safety of the atmosphere

##### Establish a ground field as per departmental SOP/SOG

##### Connect the ground wire from the damaged tank to the grounding post

##### Connect the bonding cable from the damaged container to the receiving container

##### Connect the ground wires from the receiving container to a grounding post

##### Verify continuity and resistance throughout the process

Note: Refer to Chapter 6 for more information on monitoring for grounding and bonding.

Review Question: What methods and precautions should be taken to prevent fire in cargo tanks?

See pp. 522-528 of the manual for answers.

Section V:	Pressurized Containers

# pressurized containers

pp. 528-534	Objective 5 – Identify pressurized containers.

## Pressurized Containers

### Manufactured with materials that can withstand high pressures

### Will often leak long before they rupture

### Require extra care

### Considerations

#### Pressure and pressure changes

#### Availability and proper use of appropriate PPE

#### Configuration and condition of container

#### Internal and external temperature of container

#### Size of container

#### Presence of autorefrigeration

#### Possibility of BLEVE

#### Expansion ratios of gases involved

#### Availability and use of thermal imaging camera to assist in locating leak points

#### Invisible fires that some gaseous products create

#### Conditions that would indicate reactivity with container or other products in proximity

### Anytime pressure cylinder on ton container involved

#### Locate leaking container by looking for escaping vapor

#### Ask for approval from plant operator to close connecting valves if container is connected to additional piping or processing unit

### Techniques similar regardless of container involved

### Manufacturer recommendations and specific department operating procedures should always be followed

Instructor Note: Refer students to the information box titled “Recovery Vessels” on p. 529 of the manual. Discuss with students the applications of a recovery vessel.

## Working with Fittings on Pressure Containers

### Simplest way to contain leak – Close valve

#### Doing so without knowledge of entire pumping system can have devastating effect

#### Understand exactly which one is being closed and which system it will affect

#### Must be performed in concert with facility personnel

### How valve operates – Stems

#### If stem runs in line with pipe, open

#### If stem runs across pipe, closed

### Technician may make minor repairs to different systems

#### Should not be attempted unless under guidance of facility operators

#### May include tightening of loose plugs or replacement of missing plugs

#### Requires proper PPE

#### Requires monitoring of air, confined space considerations, and possibility of oxygen-deficient atmosphere

## Fusible Plug

### Commonly found safety devices found in pressurized vessels

### Components that commonly leak and require attention

### Tools needed

#### Wrenches

#### Clamps

#### Set screws

#### Blocks

#### Gasket material

### Once equipment in place, ensure that leak has been controlled

### Use products compatible with materials involved

Instructor Note: This information correlates with Skill Sheets 11-2 and 11-3. More information is found at the end of this lesson outline.

## Fusible Plug Threads

### Used when not possible to tighten or replace fusible plug

### Tools needed

#### Hacksaw

#### Files

#### Wrenches

#### Clamps

#### Set screws

#### Blocks

#### Gasket material

Instructor Note: This information correlates with Skill Sheets 11-4 and 11-5. More information is found at the end of this lesson outline.

## Cylinder Wall

### Patch applied around cylinder if sidewall breached

### Tools needed

#### Screws

#### Wrenches

#### Yokes

#### Chains

#### Patching equipment

#### Gaskets

#### Scrapers

Instructor Note: This information correlates with Skill Sheets 11-6 and 11-7. More information is found at the end of this lesson outline.

## Valve Blowout

### Secure valve opening by driving drift pin into opening – Stay clear once applied in case it dislodges

### Assemble and apply hood device assembly

Note: Unless responders are on the scene when the valve blowout occurs, the tank will be empty before a drift pin can be inserted.

Instructor Note: This information correlates with Skill Sheets 11-8 and 11-9. More information is found at the end of this lesson outline.

## Valve Gland

### May be possible to tighten packing nut to prevent further leakage

### Before tightening, use assembly on cylinder or appropriate wrench to ensure valve stem closed

### Packing nut should be tightened firmly but not over tightened

### If leak persists, attach hood assembly

Instructor Note: This information correlates with Skill Sheet 11-10. More information is found at the end of this lesson outline.

## Valve Inlet Thread

### May be possible to tighten valve assembly onto cylinder to stop leak

### Attach wrench to valve assembly

### Using even pressure, tighten valve slowly until leak stops

### If leak persists, attach hood assembly

Instructor Note: This information correlates with Skill Sheets 11-11 and 11-12. More information is found at the end of this lesson outline.

## Valve Seat

### Will not seat properly if foreign matter lodged

### Opening and closing valve may be enough to dislodge matter

#### If disconnected from process and can be safely reconnected, reconnect and attempt to open and close valve stem

#### If cylinder cannot be safely reconnected, apply outlet cap and gasket

### If leak persists, attach hood assembly

Instructor Note: This information correlates with Skill Sheets 11-13 and 11-14. More information is found at the end of this lesson outline.

## Valve Stem Blowout

### Repair similar to steps used for valve blowout

### Drive drift pin into valve body

### Apply hood assembly

Note: In most instances the contents will have already been released.

Instructor Note: This information correlates with Skill Sheets 11-15 and 11-16. More information is found at the end of this lesson outline.

Review Question: What considerations should be taken into account when working with leaking pressurized vessels?

See pp. 528-534 of the manual for answers.

Section VI:	Drums

# drums

pp. 535-536	Objective 6 – Identify characteristics of drums.

## Drums

### Leaking fairly common

### Typical low-pressure metal drums

#### Flat pieces of metal rolled onto tubes with two capped ends

#### Chime runs around outer edge of each head

### Various access holes found; closed with right-handed screw called bung

## Bung Leaks

### Common occurrence

### Correction may be as simple as righting drum

### Require product identification

### If concern flammable product, require vapor suppression activities

### Attempting repair

#### Drum must be upright or leak positioned at highest point

#### Bung wrench used to tighten bung and stop leak

#### Drum should be overpacked if necessary

Instructor Note: This information correlates with Skill Sheet 11-17. More information is found at the end of this lesson outline.

## Chime Leaks

### Simplest correction – Upright barrel or drum

### Drum wrap or epoxies may be used

### Steps

#### Stop leak

#### Overpack barrel

#### Seal barrel

#### Properly mark barrel

Instructor Note: This information correlates with Skill Sheet 11-18. More information is found at the end of this lesson outline.

## Sidewall Punctures

### More challenging to remedy

### Can be small or large

### Require check for reactivity indications

### If concerns flammable product, acceptable LEL levels should be maintained

### Steps

#### Orient barrel so that leak at highest point

#### Stop leak using available equipment

#### Trim plugging material

#### Cover patched area with tape or other appropriate material

#### Overpack barrel

#### Seal barrel

#### Properly mark barrel

Instructor Note: This information correlates with Skill Sheets 11-19 and 11-20. More information is found at the end of this lesson outline.

Review Question: What types of leaks are common in drums? Briefly explain how each should be handled.

See pp. 535-536 of the manual for answers.

Section VII:	Overpacking

# overpacking

pp. 536-540	Objective 7 – Explain overpacking.

## Overpacking

### Process by which damaged drum can be placed inside another container

### Overpack drums

#### Usually constructed of steel or plastic

#### Come in sizes ranging from 5 to 119 gallons (19 L to 450 L)

### Commonly used for liquids and solids

### Considerations

#### Drums that have been involved in transportation accident or that have been buried or abandoned for long period of time may be compromised

#### Weakened drums may breach when overpacked or handled

#### Depending on product, weights may be over 800 lbs (363 kg)

#### Drums that contain liquid and have deteriorated to point of being unmovable may need contents off-loaded

#### Leaking barrels should be temporarily repaired before overpacking

#### Drums may be overpressurized

### Precautions

#### Wear appropriate PPE whenever handling or overpacking drums

#### Keep fingers outside of drums

#### Use drum upender or dolly to move drums whenever possible

#### Maintain safe body positioning when moving a drum

#### Stay uphill of drum

#### Chock drums in place to prevent movement

## Tactics

### Slide-in method

#### Accomplished by sliding drum on side into overpack drum

#### May include use of 2X4 planks or pipes

#### Drum to be overpacked laid on side with pipes perpendicular to barrel

#### Drum rolled onto pipes

#### Pipes assist with rolling drum into overpack

Instructor Note: This information correlates with Skill Sheet 11-21. More information is found at the end of this lesson outline.

### Rolling slide-in method

#### Drum and overpacked positioned end-to-end at 30° angle

#### Both rolled together in same direction

#### Portion of drum enters overpack; responder finish sliding

Instructor Note: This information correlates with Skill Sheet 11-22. More information is found at the end of this lesson outline.

### Drum lifting method

#### Completed with assistance of mechanical equipment

#### Drum lifted into upright position

#### Overpack placed under drum

#### Drum lowered into overpack

### Slip-over method

#### Recovery drum placed over top of leaking drum

#### Both drums tilted onto ground and then uprighted with leaking drum inside recovery drum

#### Ensure drum bung openings orientated towards lid when uprighted

Instructor Note: This information correlates with Skill Sheet 11-23. More information is found at the end of this lesson outline.

## Lab Packs

### Used for disposal of chemicals in process samples

### Often contain multiple container or compatible product surrounded by absorbent material

### May contain

#### Radioisotopes

#### Shock-sensitive products

#### Highly volatile chemicals

#### Highly corrosive chemicals

#### Highly toxic chemicals

### May be necessary to adulterate or contaminate product

#### Pouring product directly into absorbent material of lab pack to ensure product cannot be reused

#### Requires compatibility between product and absorbent material

Review Question: What is overpacking? How is it accomplished?

See pp. 536-540 of the manual for answers.

Section VIII:	Specialized Product Control Techniques

# specialized product control techniques

pp. 540-543	Objective 8 – Describe specialized product control techniques.

## Hot and Cold Tap

### Tapping – Process used to attach nozzle or outlet on ton container’s tank or piping to assist with removal or transfer of product

### Hot tapping

#### Technique in which welding or cutting operations conducted to attach nozzle or outlet while container or pipe still contains product

#### Used only in emergency situations when removal of chemical from container cannot be accomplished through normal means due to

##### Lack of container integrity

##### Damage to valves or piping

### Cold tapping

#### Similar to hot tapping

#### Nozzle or outlet strapped to container or piping

## Product Transfer

### Technique that can be used to off-load chemical or product from damaged container into receiving container

### May be conducted for overloaded containers

### Requires special care when involving rail cars

### Considerations when working with railway containers and following conditions exist

#### Container is damaged and cannot be safely moved or rerailed

#### Rail tank is sound, but damage to bolsters will not allow car to be rerailed

#### Topography will preclude container from being rerailed

#### Container is overloaded

#### Damaged valves cannot be repaired

### Variety of options

### Tools and equipment vary

### Requires care to be taken

## Flaring

### Technique used to reduce amount of product in container

### May be effective at reducing volume of gases or liquid through flare pipe or other outlet

### Offers beneficial results

#### Reduces quantity of chemical

#### Decreases internal pressure of container

### Requires care to ensure flaring operation will not ignite other materials

### Can be performed on various containers

### Two types

#### Vapor flaring – Burning of vapor of compressed flammable gas at outlet of flare stand

#### Liquid flaring – Burning of liquefied flammable gas or flammable liquid at end of horizontal flare pipe

## Venting

### Process in which product released into atmosphere in order to reduce pressure within container

### Typically associated with nonflammable products

### If concerns toxic product, may be released after processed to reduce toxicity

### Requires extreme care

### Should be conducted only after consulting with

#### Shipper

#### Environmental specialists

#### Other container specialists

## Vent and Burn

### Highly specialized process

### Used to create

### when all other options unavailable or will not work

### Conducted by placing controlled openings in container with use of explosives

### Should be considered only shaped charges strategically around container to open container and burn off liquefied flammable compressed gas or flammable lids

### Should be used solely as last resort

## Sparging (Scrubbing)

### Process where gas is bubbled through liquid

### Gas absorbed in solution

### Examples

### Quick way of reducing pressure in vessel or process

### Should only be performed by trained personnel

## Vapor Suppression and Dispersion

### Vapor suppression

#### Action taken to reduce emission of vapors at haz mat incident

#### Uses fire fighting foams; Class B foams most commonly used

### Dispersion

#### Viable option when vapors cannot be suppressed

#### Action taken to direct or influence course of airborne hazardous materials

#### May use pressurized streams of water

##### Create turbulence

##### Increases rate of mixing with air

##### Reduces concentration of hazardous material

#### Requires confinement and analyzing of runoff water

## Applying Large Plugging and Patching Devices

### Commercially available

### Used for patching holes in larger containers

### Pneumatically inflatable bags

#### Can be used on various-sized containers

#### Used in association with ratched or strapping devices

#### Can be inflated to control or stop leak on variety of container sizes and materials

#### Usually made of nylon-type material

#### May have reinforcement on edges

Review Question: What are some specialized product control techniques that technicians should be able to describe?

See pp. 540-543 of the manual for answers.

Section IX:	Skill Sheets

# SKILL SHEETS

pp. 545-546	Objective 9 – Install a clamp on the dome of an MC-306/DOT-406 cargo tank.

## Skill Sheet 11-1

### For this skill sheet, students will perform the skills to install a clamp on the dome of an MC-306/DOT-406 cargo tank

### This skill sheet can be found in the Skills Evaluation Checklist 11-1 on the curriculum flash drive

### This checklist corresponds with the information on pp. 523-524 of the manual

pp. 547-548	Objective 10 – Contain a leak from a fusible plug using an A-kit.

## Skill Sheet 11-2

### For this skill sheet, students will perform the skills to contain a leak from a fusible plug from an A-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-2 on the curriculum flash drive

### This checklist corresponds with the information on p. 532 of the manual

pp. 549-550	Objective 11 – Contain a leak from a fusible plug using a B-kit.

## Skill Sheet 11-3

### For this skill sheet, students will perform the skills to contain a leak from a fusible plug using a B-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-3 on the curriculum flash drive

### This checklist corresponds with the information on p. 532 of the manual

pp. 551-552	Objective 12 – Control a chlorine leak from fusible plug threads using an A-kit.

## Skill Sheet 11-4

### For this skill sheet, students will perform the skills to control a chlorine leak from fusible plug threads using an A-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-4 on the curriculum flash drive

### This checklist corresponds with the information on p. 533 of the manual

p. 553	Objective 13 – Control a leak from fusible plug threads using a B-kit.

## Skill Sheet 11-5

### For this skill sheet, students will perform the skills to control a leak from fusible plug threads using a B-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-5 on the curriculum flash drive

### This checklist corresponds with the information on p. 533 of the manual

pp. 554-555	Objective 14 – Control a chlorine leak from a cylinder sidewall using an A-kit.

## Skill Sheet 11-6

### For this skill sheet, students will perform the skills to control a chlorine leak from a cylinder sidewall using an A-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-6 on the curriculum flash drive

### This checklist corresponds with the information on p. 533 of the manual

pp. 556-557	Objective 15 – Control a leak from a cylinder sidewall using a B-kit.

## Skill Sheet 11-7

### For this skill sheet, students will perform the skills to control a leak from a cylinder sidewall using a B-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-7 on the curriculum flash drive

### This checklist corresponds with the information on p. 533 of the manual

pp. 558-560	Objective 16 – Control a chlorine leak from a valve blowout using an A-kit.

## Skill Sheet 11-8

### For this skill sheet, students will perform the skills to control a chlorine leak from a valve blowout using an A-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-8 on the curriculum flash drive

### This checklist corresponds with the information on p. 533 of the manual

p. 561	Objective 17 – Control a leak from a valve blowout using a B-kit.

## Skill Sheet 11-9

### For this skill sheet, students will perform the skills to control a leak from a valve blowout using a B-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-9 on the curriculum flash drive

### This checklist corresponds with the information on p. 533 of the manual

p. 562	Objective 18 – Control a chlorine leak from a valve gland using a C-kit.

## Skill Sheet 11-10

### For this skill sheet, students will perform the skills to control a chlorine leak from a valve gland using a C-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-10 on the curriculum flash drive

### This checklist corresponds with the information on pp. 533-534 of the manual

p. 563	Objective 19 – Control a chlorine leak from valve inlet threads using an A-kit.

## Skill Sheet 11-11

### For this skill sheet, students will perform the skills to control a chlorine leak from valve inlet threads using an A-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-11 on the curriculum flash drive

### This checklist corresponds with the information on p. 534 of the manual

pp. 564-565	Objective 20 – Control a leak from valve inlet threads using a B-kit.

## Skill Sheet 11-12

### For this skill sheet, students will perform the skills to control a leak from valve inlet threads using a B-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-12 on the curriculum flash drive

### This checklist corresponds with the information on p. 534 of the manual

pp. 566-567	Objective 21 – Control a chlorine leak from a valve seat using an A-kit.

## Skill Sheet 11-13

### For this skill sheet, students will perform the skills to control a chlorine leak from a valve seat using an A-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-13 on the curriculum flash drive

### This checklist corresponds with the information on p. 534 of the manual

pp. 568-569	Objective 22 – Control a leak from a valve seat using a B-kit.

## Skill Sheet 11-14

### For this skill sheet, students will perform the skills to control a leak from a valve seat using a B-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-14 on the curriculum flash drive

### This checklist corresponds with the information on p. 534 of the manual

pp. 570-571	Objective 23 – Control a chlorine leak from a valve stem blowout using an A-kit.

## Skill Sheet 11-15

### For this skill sheet, students will perform the skills to control a chlorine leak from a valve stem blowout using an A-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-15 on the curriculum flash drive

### This checklist corresponds with the information on p. 534 of the manual

p. 572	Objective 24 – Control a leak from a valve stem blowout using a B-kit.

## Skill Sheet 11-16

### For this skill sheet, students will perform the skills to control a leak from a valve stem blowout using a B-kit

### This skill sheet can be found in the Skills Evaluation Checklist 11-16 on the curriculum flash drive

### This checklist corresponds with the information on p. 534 of the manual

pp. 573-574	Objective 25 – Contain a drum leak from a bung.

## Skill Sheet 11-17

### For this skill sheet, students will perform the skills to contain a drum leak from a bung

### This skill sheet can be found in the Skills Evaluation Checklist 11-17 on the curriculum flash drive

### This checklist corresponds with the information on p. 535 of the manual

p. 575	Objective 26 – Control a drum leak from a chime.

## Skill Sheet 11-18

### For this skill sheet, students will perform the skills to control a drum leak from a chime

### This skill sheet can be found in the Skills Evaluation Checklist 11-18 on the curriculum flash drive

### This checklist corresponds with the information on p. 536 of the manual

p. 576	Objective 27 – Control a drum leak from a forklift puncture.

## Skill Sheet 11-19

### For this skill sheet, students will perform the skills to control a drum leak from a forklift puncture

### This skill sheet can be found in the Skills Evaluation Checklist 11-19 on the curriculum flash drive

### This checklist corresponds with the information on p. 536 of the manual

p. 577	Objective 28 – Control a drum leak from a nail puncture.

## Skill Sheet 11-20

### For this skill sheet, students will perform the skills to control a drum leak from a nail puncture

### This skill sheet can be found in the Skills Evaluation Checklist 11-20 on the curriculum flash drive

### This checklist corresponds with the information on p. 536 of the manual

p. 578	Objective 29 – Overpack a drum using the slide-in method.

## Skill Sheet 11-21

### For this skill sheet, students will perform the skills to overpack a drum using the slide-in method

### This skill sheet can be found in the Skills Evaluation Checklist 11-21 on the curriculum flash drive

### This checklist corresponds with the information on p. 538 of the manual

p. 579	Objective 30 – Overpack a drum using the rolling slide-in method.

## Skill Sheet 11-22

### For this skill sheet, students will perform the skills to overpack a drum using the rolling slide-in method

### This skill sheet can be found in the Skills Evaluation Checklist 11-22 on the curriculum flash drive

### This checklist corresponds with the information on p. 538 of the manual

pp. 580-581	Objective 31 – Overpack a drum using the slip-over method.

## Skill Sheet 11-23

### For this skill sheet, students will perform the skills to overpack a drum using the slip-over method

### This skill sheet can be found in the Skills Evaluation Checklist 11-23 on the curriculum flash drive

### This checklist corresponds with the information on p. 538 of the manual

Section X:	Summary and Review

# SUMMARY AND REVIEW

## Chapter Summary

### Hazardous materials technicians may be called upon to perform offensive product control.

### The use of risk-based response will assist in determining offensive actions.

### Stopping a leak may be as simple as closing a valve, but technicians must be able to perform a variety of tasks.

## Review Questions

### What are the differences between nonintervention, defensive operations, and offensive operations? (502-506)

### What three primary concerns should be determined during damage assessment? (506-516)

### How are plugging and patching used to contain hazardous materials? (516-522)

### What methods and precautions should be taken to prevent fire in cargo tanks? (522-528)

### What considerations should be taken into account when working with leaking pressurized vessels? (528-534)

### What types of leaks are common in drums? Briefly explain how each should be handled. (535-536)

### What is overpacking? How is it accomplished? (536-540)

### What are some specialized product control techniques that technicians should be able to describe? (540-543)