Skill Sheet 5-7

Objective 16	Fill an SCBA cylinder. [NFPA 4.3.1]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skill sheet, students will fill an SCBA cylinder. Students should complete at least one of the methods. This skill sheet is only an example. The procedures outlined here may not be applicable to your department’s fill system.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

WARNING: Never attempt to fill a cylinder that is damaged or that is out of hydrostatic test date.

CAUTION: Standard safety precautions must be observed. Put the cylinder in a shielded fill station, prevent overheating by filling slowly, and make sure that the cylinder is completely full but not overpressurized. Correct procedures must always be followed or damage to equipment can result. For example, failure to open the hose bleed valve could result in O-ring damage.

Resources

| - Cylinder to be filled - Cascade or compressor system | - Appropriate PPE (including eye and ear protection) |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 5-7
Assessment

Objective 16	Fill an SCBA cylinder. [NFPA 4.3.1]

NOTE: This skill sheet is only an example. The procedures outlined here may not be applicable to your department’s compressor or cascade system. Always check the manufacturer’s instructions before attempting to fill any cylinders.

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| Cascade Fill System |  |  |  |
| 1. | Check the hydrostatic test date and recommended fill pressure of the cylinder. |  |  |
| 2. | Inspect the cylinder for damage (e.g., deep nicks, cuts, gouges, or discoloration from heat). |  |  |
| 3. | Place the SCBA cylinder in a shielded or fragment-proof fill station. |  |  |
| 4. | Connect the SCBA cylinder to the fill connection and hose bleed valve. |  |  |
| 5. | Open the SCBA cylinder valve, if necessary. |  |  |
| 6. | Open the valve at the fill connection, the valve at the cascade system manifold, or the valves at both locations if the system is so equipped. Check that the regulator setting is appropriate for the cylinder pressure. |  |  |
| 7. | Open the valve of the cascade cylinder that has the least pressure, but has more pressure than the SCBA cylinder. |  |  |
| 8. | Close the cascade cylinder valve when the pressures of the SCBA and the cascade cylinders equalize. a. If the SCBA cylinder is not yet completely full, open the valve on the cascade cylinder with the next highest pressure. b. Repeat Step 8 until the SCBA cylinder is completely full. |  |  |
| 9. | Close the valve or valves at the cascade system manifold and/or fill system if the system is so equipped. |  |  |
| 10. | Close the SCBA cylinder valve, if necessary. |  |  |
| 11. | Open the bleed valve to bleed off excess pressure between the cylinder valve and valve on the fill station. |  |  |
| 12. | Disconnect the SCBA cylinder from the fill connection. |  |  |
| 13. | Remove the SCBA cylinder from the fill station. |  |  |
| 14. | Return the SCBA cylinder to proper storage. |  |  |

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
|  | Compressor Fill System |  |  |
| 1. | Check the hydrostatic test date and recommended fill pressure of the cylinder. |  |  |
| 2. | Inspect the cylinder for damage (e.g., deep nicks, cuts, gouges, or discoloration from heat). |  |  |
| 3. | Place the SCBA cylinder in a shielded or fragment-proof fill station. |  |  |
| 4. | Connect the SCBA cylinder to the fill connection and hose bleed valve. |  |  |
| 5. | Open the SCBA cylinder valve, if necessary. |  |  |
| 6. | Turn on the compressor and open the outlet valve. |  |  |
| 7. | Set the cylinder pressure adjustment on the compressor (if applicable), or manifold to the desired full-cylinder pressure. If there is no cylinder pressure adjustment, watch the pressure gauge on the cylinder during filling to determine when it is full. |  |  |
| 8. | Open the manifold valve (if applicable), and check the fill pressure again. |  |  |
| 9. | Open the fill station valve and begin filling the SCBA cylinder. |  |  |
| 10. | Close the fill station valve when the cylinder is full. |  |  |
| 11. | Close the SCBA cylinder valve, if necessary. |  |  |
| 12. | Open the bleed valve to bleed off excess pressure between the cylinder valve and valve on the fill station. |  |  |
| 13. | Disconnect the SCBA cylinder from the fill connection. |  |  |
| 14. | Remove the SCBA cylinder from the fill station. |  |  |
| 15. | Return the SCBA cylinder to proper storage. |  |  |