Skill Sheet 13-3

Objective 8	Deploy a portable water tank. [NFPA 1001, 4.3.15]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skill sheet, students will deploy a portable water tank. This checklist is written for a jet siphon. A plain siphon, commercial tank-connecting device, permanent tank gravity drain, or drain tunnel connector may also be used. This skill requires students to work as members of a team. Before the skill begins, indicate to students what position to take. Students should rotate positions to practice the skill as needed.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

Resources

| - Apparatus-mounted portable reservoirs - Siphon and appropriate siphon hose/tubing or other means of transferring water from one tank to another - Reservoir manufacturer’s setup instructions | - Two heavy tarps (large enough for tank to sit on) - Appropriate PPE |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 13-3
Assessment

Objective 8	Deploy a portable water tank. [NFPA 1001, 4.3.15]

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Carry equipment to designated location for the water tank setup. |  |  |
| 2. | Check the area for debris. |  |  |
| 3. | Open the tarps and spread them flat on the ground. |  |  |
| 4. | Set up the portable tank. |  |  |
| 5. | Connect the intake and discharge hoses to the jet siphon. |  |  |
| 6. | Position the jet siphon properly to draw and discharge water. |  |  |
| 7. | Dismantle the portable tank. |  |  |
| 8. | Shake and fold the tarps. |  |  |
| 9. | Return equipment to the proper storage locations on the apparatus. |  |  |