Skill Sheet 15-8

Objective 11	Construct and place a water chute. [NFPA 1001, 4.3.14]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skill sheet, students will construct and place a water chute. Students should complete at least one of the listed methods. This skill requires students to work as members of a team. Before the skill begins, indicate to students what position to take. Students should rotate positions to practice the skill as needed.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

Resources

| - Salvage cover - Pike poles | - Appropriate PPE |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 15-8
Assessment

Objective 11	Construct and place a water chute. [NFPA 1001, 4.3.14]

NOTE: These steps are done with both firefighters performing the steps simultaneously.

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
|  | Without Pike Poles |  |  |
| 1. | Open the salvage cover. |  |  |
| 2. | Lay the cover flat at the desired location. |  |  |
| 3. | Roll the opposite edges of the salvage cover toward the center of the cover until there is 1 to 3 feet (300 to 900 mm) between the rolls. |  |  |
| 4. | Turn the cover over, keeping the rolls in place. |  |  |
| 5. | Adjust the chute to collect and channel water by elevating one end. |  |  |
| 6. | Extend the other end out a door or window. |  |  |

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
|  | Using Pike Poles |  |  |
| 1. | Open the salvage cover. |  |  |
| 2. | Lay the cover flat at the desired location. |  |  |
| 3. | Place pike poles at opposite edges of the salvage cover with the pike extending off the end of the cover. |  |  |
| 4. | Roll the edges of the cover over the pike poles toward the center of the cover until there is 1 to 3 feet (300 to 900 mm) between the rolls. |  |  |
| 5. | Turn the cover over, keeping the rolls in place. |  |  |
| 6. | Adjust the chute to collect and channel water by elevating one end. |  |  |
| 7. | Extend the other end out a door or window. |  |  |