Skill Sheet 1-2

Objective 16	Deploy and operate a portable electrical power supply unit. [NFPA 1001, 4.3.17]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skill sheet, students will deploy a portable electrical power supply unit.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

Resources

| - Portable power supply unit - Power cords and adapters | - Appropriate PPE |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 1-2
Assessment

Objective 16	Deploy and operate a portable electrical power supply unit. [NFPA 1001, 4.3.17]

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Remove the unit from the apparatus, and move it to the appropriate location, if applicable. WARNING: Avoid areas containing potentially flammable vapors. Be sure that exhaust fumes are directed away from the working area. |  |  |
| 2. | Check the on/off switch, fuel level, fuel switch, and the choke. |  |  |
| 3. | Start the unit. |  |  |
| 4. | When the power supply unit is running smoothly, connect power cords for the tools to be used. |  |  |