Skill Sheet 13-12

Objective 17	Connect to a stairway or improvised standpipe and advance an attack hoseline onto a floor. [NFPA 1001, 4.3.10]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skill sheet, students will connect to a stairway or improvised standpipe and advance an attack hoseline onto a floor. This skill requires students to work as members of a team. Before the skill begins, indicate to students what position to take. Students should rotate positions to practice the skill as needed.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

Resources

| - Uncharged hoseline - Standpipe system or improvised standpipe | - Rope hose tools - Appropriate PPE including SCBA |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 13-12 
Assessment

Objective 17	Connect to a stairway or improvised standpipe and advance an attack hoseline onto a floor. [NFPA 1001, 4.3.10]

NOTE: Firefighters should be positioned on the same side of the hose.

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Deploy dry attack hoseline up the stairway to the floor (or landing) below the fire floor. |  |  |
| 2. | Remove the standpipe outlet cap. a. Check the condition of the outlet threads. b. Check for any obstructions in the outlet. c. Ensure the gasket is in place in the hoseline coupling. |  |  |
| 3. | Connect the female coupling to the standpipe outlet. Hand tighten the connection. |  |  |
| 4. | Advance the nozzle end of the hoseline to the fire floor access door. |  |  |
| 5. | Stretch excess hoseline up the stairway to the next landing. |  |  |
| 6. | Open the standpipe outlet valve. |  |  |