Skill Sheet 13-7

Objective 12	Extend a hoseline. [NFPA 1001, 4.3.10]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skill sheet, students will extend a hoseline. Students should place a charged hoseline on the ground and advance the line until it is completely stretched. This skill requires students to work as members of a team. Before the skill begins, indicate to students what position to take. Students should rotate positions to practice the skill as needed.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

Resources

| - Charged 1½-inch (38 mm) or larger hoseline with nozzle - Hose clamp (optional) | - Appropriate PPE including SCBA |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 13-7 
Assessment

Objective 12	Extend a hoseline. [NFPA 1001, 4.3.10]

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Bring additional sections of hose to the nozzle end of the hoseline. |  |  |
| 2. | Open the nozzle slightly. |  |  |
| 3. | Restrict the flow of water using one of the following methods. a. Apply a hose clamp approximately 5 feet (1.5 m) behind the nozzle. b. Call for the hoseline to be shut down at the pump panel. c. Use break-away feature on the nozzle, if equipped. |  |  |
| 4. | Remove the nozzle. |  |  |
| 5. | Add the new section(s) of hose. |  |  |
| 6. | Reattach the nozzle. |  |  |
| 7. | Recharge the hoseline by slowly releasing the hose clamp or calling for the line to be charged. |  |  |
| 8. | Check the nozzle pattern and bleed the air from the hoseline. |  |  |