Skill Sheet 10-2

Objective 9	Operate an air-monitoring device. [NFPA 1001, 4.3.21]

| ## Student Name: |  | ## Date: |  |
| --- | --- | --- | --- |

Directions

For this skill sheet, students will use a multi-gas meter to identify hazards. These instruments may detect carbon monoxide, oxygen, combustible gases, hydrogen sulfide, and others as determined by the AHJ.

Always follow manufacturer’s recommendations and local standard operating procedures (SOPs) when performing all skills. Students must properly wear appropriate PPE when performing this skill.

Resources

| - Multi-gas meter - Cleaning supplies recommended by the manufacturer - Calibration and/or bump gas - Product and area to be tested | - Manufacturer’s operator’s manual - Local SOPs - Appropriate PPE |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the student has completed the skill sheet, write comments below.

Evaluator/Student Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skill Sheet 10-2 
Assessment

Objective 9	Operate an air-monitoring device. [NFPA 1001, 4.3.21]

WARNING: If this skill involves the use of actual hazardous material samples or materials at a hazardous level, hazardous materials can cause serious injury or fatality. Appropriate PPE must be worn and safety precautions must be followed.

NOTE: The following skill sheet demonstrates general steps; specific incidents and types of equipment may differ depending upon local SOPs and manufacturer’s instructions.

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Ensure that the proper detection, monitoring, or sampling method and equipment is chosen. |  |  |
| 2. | Ensure that all responders are wearing appropriate PPE. |  |  |
| 3. | Perform initial inspection to ensure that the monitor is serviceable. |  |  |
| 4. | Perform a bump test to ensure that the meter is functioning properly. |  |  |
| 5. | Perform a “fresh air” calibration of the monitor prior to entry. |  |  |
| 6. | Monitor the area per local SOPs. |  |  |
| 7. | If the monitor alarms, identify the cause for alarm and follow local SOPs. |  |  |
| 8. | Report results according to AHJ requirements. |  |  |
| 9. | When monitoring is complete, turn off the instrument. |  |  |
| 10. | Decontaminate the equipment and return it to an operational state per manufacturer’s instructions. |  |  |
| 11. | Complete required reports and supporting documentation. |  |  |